## Slide 1: BMS 631 - LECTURE 14 Flow Cytometry: Theory
Bindley Bioscience Center
Purdue University
Office: (765) 494 0757
Fax (765) 494 0517
Email; robinson@flowcyt.cyto.purdue.edu
WEB http://www.cyto.purdue.edu
Cytometry and Microbiology
J.Paul Robinson SVM Professor of Cytomics Professor of Biomedical Engineering Purdue University
Notice: The materials in this presentation are copyrighted materials. If you want to use any of these slides, you may do so if you credit each slide with the author’s name.

## Slide 2: Flow Cytometry & Microbiology
History
Major problems
Potential applications
Clinical applications
Future

## Slide 3: Publications in Thousands
45
105
0
15
30
60
75
90
120
135
150
Microbiology
Molecular Biology
Monoclonal Antibody
Flow Cytometry
1966-1970
1971-1975
1976-1980
1981-1985
1986-1991

## Slide 4: Papers Published
0
300
600
900
1200
1500
1800
2100
2400
Flow Cytometry & Microbiology
Microbiology & Molecular Biology
1966-1970
1971-1975
1976-1980
1981-1985
1986-1991
1234
1234
1234
1234

## Slide 5
0
15
30
45
60
75
90
Thousands
Papers Published
1966-1970
1971-1975
1976-1980
1981-1985
1986-1991
Microbiology
Flow Cytometry

## Slide 6
0
300
600
900
1200
1500
1800
Flow Cytometry & Microbiology
Microbiology & Molecular Biology
Papers
1966-1970
1971-1975
1976-1980
1981-1985
1986-1991
Published

## Slide 7: Relative Sizes of Biologicals
Amoeba
Lymphocyte
S.aureus
5-8 m
1 m
15-30 m

## Slide 8
Measurement Bacteria Yeast Eukaryotic
Linear 0.5-5 3-5 10-30
Surface 3-12 30-75 300-3000
Volume 0.3-3 20-125 500-1500
Dry Cell Mass 1 10 300-3000
Relative Ratios

## Slide 9
Membrane Potential
1. Presence of live bacteria
2. Partial identification
3. Quantitation
4. Antibiotic sensitivity

## Slide 10: Application of Membrane Potential
2' After Gramicidin
Untreated Cells
2' After Valinomycin
Frequency
DiIC4(5) Fluorescence Intensity

## Slide 11: Ratios using DNA Dyes
Chromomycin A3 [G-C]
Hoechst 33258 [A-T]
S.aureus ATCC 12600
V.parahaemolyticus
ATCC 17802

## Slide 12: Ratios using DNA Dyes
Chromomycin A3 [G-C]
Hoechst 33258 [A-T]
S.aureus ATCC 12600
K.pneumoniae CDC II

## Slide 13: Comparison of Flow & Traditional Methods
Manual Plate Counts
Flow Cytometry
r=0.996
104
105
106
107
108
103
103
104
105
106
107
108

## Slide 14
Required Information
1. Bacterial presence
2. Concentration/number
3. Identification
4. Antibiotic sensitivity
Clinical Microbiology Applications

## Slide 15
Blood
CSF
Urine
Too many cells
Too few bacteria
Too few organisms
Blood cells present
High organism count
50% of specimens
Clinical Microbiology

## Slide 16
~200-500 x 106
Clinical Microbiology
Samples/year
Infectious Diseases

## Slide 17
Urine Analysis
1. 50% of workload
2. ~100-300 x 106
3. ~80% samples negative
4. 5-24 hour detection time

## Slide 18: Determination of Growth Rates
Growing Bacteria
Initial Culture
45' Incubation
Frequency
Fluorescence Intensity

## Slide 19
Detect any microbe present in sample
Determine if the microbe is viable
Determine if a particular species or strain
of organism is present in sample
Strategies for Detection of Microorganisms

## Slide 20
Quality Control
Light scatter of bacteria
Detection of bacteria using fluorescent dyes
Organism viability
Specific identification of pathogenic bacteria
Five Strategic Components

## Slide 21: Quality Control Procedures for Microbiological Applications
Standard instrument set-up (alignment beads)
Filter sheath fluid and buffers with 0.1 um filter
Spike bacteria samples with latex beads
Reference standards for bacteria
i.e. Fixed E.coli cells, Bacillus spores
Bacillus subtilis spores spiked
with 1.0 um latex beads.
6um bead

## Slide 22: Light scattering profiles for qualitative analysis of pathogenic bacteria
  Set discriminator or threshold to reduce
  amount of debris
  Establish regions of interest
  Spike bacterial samples with latex beads
  of known size

## Slide 23: Prokaryotes vs. Eukaryotes
Comparison of light scatter profiles of prokaryotes and eukaryotes.
90 LS
FS
Size, mass, nucleic acid and protein content of bacteria is 1/1000 of mammalian cells
In bacteria, considerable variation in accessibility of cell interior to dyes
-gram-negative vs. gram-positive
-vegetative cells vs. spores
-capsule formation
-efflux pump
Bacterial mixture
Lysed whole blood
Mix of E.Coli and S.aureus

## Slide 24: Microbial Discrimination and Identification Using Light Scattering
Debris and nonbiological particulates
Sample preparation
Growing bacteria
single cells vs. chains/clusters
Mixed suspensions of bacteria
size vs. refractive index
    vegetative vs. spores

## Slide 25: Debris vs. Bacteria
Aerosol sample of Bacillus subtilis spores with debris.
Forward Scatter
Count
SS
BG
debris
Forward Scatter

## Slide 26: Light Scatter Changes Growing Culture vs. Fixed cells
Growing culture of E.coli Fixed E.coli cells
Growing
E.coli
Fixed
E.coli
log FS
log FS
log SS
log SS

## Slide 27: Light scatter changes due to Sample Preparation
BG spore prep
BG slurry
B.subtilis (BG) spores BG spore slurry
washed air sampler
log FS
log FS
log SS
log SS

## Slide 28
Mixed suspensions of bacteriaI identification on scatter alone?
Light scatter signature of a mixture of B.subtilis
spores (BG) and E.coli cells.
BG doublets
BG spores
E.coli cells
debris
debris
E.coli
BG
doublets ?
log FS
log FS
log SS
Count

## Slide 29: Light Scatter of Bacterial Spores
Light scatter signals from a mixture of live B.anthracis spores, live B. subtilis spores and gamma irradiated B. anthracis spores.
B.anthracis
B.subtilis
irradiated B.anthracis
SS
FS

## Slide 30: Rapid Detection of Pathogenic Bacteria Using Fluorescent Dyes
Purpose:
To determine if bacteria are present or not
in unknown sample
Method:
To fix or not to fix??
-Maintain morphological integrity
-Fluorescent probe must enter the cell

## Slide 31
Nucleic Acid Content
Distinguish bacteria from particles of similar size
by their nucleic acid content
Fluorescent dyes
-must be relatively specific for nucleic acids
-must be fluorescent only when bound to
nucleic acids
Examples
    DAPI
    Hoechst 33342
    cyanine dyes YoYo-1, YoPro-1, ToTo-1

## Slide 32
YoYo-1 stained mixture of 70% ethanol fixed
E.coli cells and B.subtilis (BG) spores.
mixture
BG E.coli
BG
E.coli
mixture
Run on cytometer
Scatter
Fluorescence
Scatter
Notes: Yo-Yo 1 - 488 ex membrane impermeant so cells must be fixed.
Fix in ethOH - stain 5 minutes run flow
Spore coat difficult to get dyes in. Spores have less fluorescent than vegetative bacteria

## Slide 33: Specific Identification of Pathogenic Bacteria
Flow Cytometric Immunoassays
Polyclonal vs. Monoclonal Antibodies
Enrichment Cultures
Microsphere beads assays for toxins
Nucleic Acid Sequences

## Slide 34: Microbial Identification Using Antibodies
Enumeration & identification of target organisms in
mixed populations
Examples include:
  Legionella spp. in water cooling towers
  Cryptosporidium & Giardia in water reservoirs
  Listeria monocytogenes in milk
  E.coli O157:H7 in contaminated meat
  Bacillus anthracis & Yersinia pestis biowarfare agents

## Slide 35: Advantages
<10 min. direct assay
        <40 min. with enrichment broth
    E.coli 104 cells/ml
        B.anthracis 105 cells/ml
    Can be combined with viability probes
    Fixation is not always necessary
    Applications include clinical, water, food, etc
Fast
Sensitive

## Slide 36: Disadvantages
Sensitivity, specificity and reliability of assay depends on antibody quality
Very few commercially available antibodies for bacteria
MAb preferred but expensive to prepare
PCAb easy/cheap to prepare but not specific
Genetic variability of bacteria

## Slide 37
Unstained E.coli O157:H7.
log FS
log SS
log green fluorescence
log FS vs log SS
E.coli cells
no fluorescence
Assays like E.coli detection are possible

## Slide 38: E.coli O157:H7 Flow Immunoassay
Flow cytometric identification of E.coli O157:H7 stained with
FITC-labeled anti-E.coli O157:H7 polyclonal antibody.
E.coli O157:H7 cells
log FS
log SS
log FS vs log SS
log green fluorescence

## Slide 39
Flow cytometric identification of E.coli O157:H7 stained with
FITC-labeled anti-E.coli O157:H7 polyclonal antibody in beef.
E.coli O157:H7 in Ground Beef
log FS
log green fluorescence
log green fluorescence
log FS
ungated
gated by region 1
region 1
gated by region 1

## Slide 40: Rapid Detection of B.anthracis
Gram-positive, aerobic, spore-forming bacillus
Virulence factors:
1. tripartite exotoxin
pXO1 plasmid (cya, lef, pag genes)
2. poly-D-glutamic acid capsule
pXO2 plasmid (capA, capB, capC genes)
Delta strains of B.anthracis were used (cured of 1 plasmid)
Notes: Protocol in enrichment broth
delta strain are attenuated strains (no virulence)
pX01 is toxin plasmid
pX02 is capsule plasmid - both needed for virulence

## Slide 41
Count
log FS
log green fluorescence
B.anthracis spores stained with FITC labeled anti-B.anthracis polyclonal antibody. This assay used for detection of spores in a sample not as a test for viable B.anthracis.
B.anthracis
spores
positive for
anti-B.anthracis PCAb
Detection of Spores

## Slide 42: Format for Identification of Viable B.anthracis
HEART INFUSION
+ AMINO ACIDS
8% Sodium
Bicarbonate
SAMPLE
HEART INFUSION
+ AMINO ACIDS
+ SERUM
INCUBATE
30 min. 37 C
ADD 6G6-FITC
MAb CELL WALL
INCUBATE
5 min. 37 C
ADD FDF1B9-FITC
MAb CAPSULE
Flow Cytometer
Flow Cytometer
Capsule
Cell wall
Notes: This antibody only binds to viable spores. Spores must germinate (30 minutes)
bicarbonate added to cause capsule formation (same as in body)

## Slide 43
Flow cytometric analysis of B.anthracis Sterne (pXO1+, pXO2-) cells grown in polysaccharide media and stained with FITC labeled 6G6-MAb (cell wall).
Count
log FS scatter
log green fluorescence
vegetative cells
B. anthracis
positive for cell wall
polysaccharide
Identification of Viable B.anthracis Cells

## Slide 44
encapsulated
B. anthracis
positive for capsule
Count
log FS scatter
log green fluorescence
Identification of Viable B.anthracis Cells
Flow cytometric analysis of B.anthracis Volume (pXO1-, pXO2+) cells grown in capsule media and stained with FITC labeled 1FDF1B9-MAb (capsule).
Notes: Light scatter changed dramatically because of the capsule (refractive index) clumping, chains, etc

## Slide 45: Immunoassay for B. anthracis Cells and Spores
Cell wall Capsule Anthrax
Bacillus spp. MAb MAb PCAb
B. anthracis Sterne (pXO1+, pXO2-) + -- +
B.anthracis Vollum 1B (pXO1-, pXO2+) -- + +
B.cereus (ATCC #9946) -- -- +
B.thuringiensis (ATCC #33646) -- -- +
B.subtilis (Lot#10-1030) -- -- +

## Slide 46: Fluorescence Microsphere-based Sandwich Immunoassays for Soluble Toxins & Viruses
Combine
-Large, non-fluorescent, anti-analyte antibody coated beads
-Sample containing analyte
-Fluorochrome labeled anti-analyte antibody Y
FCM assay:
-Establish region for large beads.
-Gate and measure fluorescence.
Y
Y
+
+
Y Y Y
Y Y
bead/Ag/FITC-Ab
complex
log green fluorescence
gated by region 9
Count
Large beads
Region 9
log FS
Count
Model for bead assays for soluble toxins and viruses. Established
Region 9 for large beads, gated and measured the fluorescence.
Ovalbumin used as a stimulant for proteinaceous toxins.

## Slide 47: Identification Using Nucleic Acid Sequences
Identify bacteria by hybridization with fluorescently
labeled nucleic acid probes
-16S rRNA probes available at the kingdom, family,
group, genera or species level
Advantages
-very specific
-identify viable but non-culturable bacteria
environmental isolates
Disadvantages
-probe access can be difficult
-relatively weak fluorescent signals
-time needed
Notes: Must fix the cells first
probes are based on sequence analysis
Once you have the probes you don’t need to grow them, just identify presence

## Slide 48
Simultaneous In Situ Visualization
of Seven Distinct Bacterial Genotypes
Confocal laser scanning image of an activated sludge sample after in situ hybridization with 3 labeled probes. Seven distinct, viable populations can be visualized without cultivation.
Amann et al.1996. J. of Bacteriology 178:3496-3500.

## Slide 49
Comparison of CFU counts vs. FCM counts
Enumeration of Sphingomonas during the biodegradation of pyrene in soil. Thomas et al. 1997. Cytometry 27:224-232.

## Slide 50: Fluorescent Dyes can be used to determine cell viability
  Membrane integrity
      propidium iodide
      ethidium bromide
      Syber Green
  Membrane potential
      oxonol
      rhodamine 123
  Enzymatic activity
    fluorescein diacetate
  Light scatter??

## Slide 51
B.subtilis, E.coli, M.luteus and yeast cells fixed in ethanol and stained with propidium iodide. Cells were analyzed using the ELITE flow cytometer (488 argon laser). Data from Dr. Hazel Davey, University of Wales, Aberystwyth, UK.
Membrane Integrity

## Slide 52
Contaminated meat sample stained with Syber Green I. In the dual parameter plot of the gated population (region 7), Syber Green I stained the majority of cells (live population). Data obtained from Fabio Frezzini, Bio-Rad Italy.
log green fluorescence
log red fluorescence
log green vs. log red
log FS

## Slide 53
Light scatter and fluorescence from DiBAC4(3) (oxonol) stained E.coli cells after 5 hours of growth in broth culture (a and b) and following gramicidin treatment (c and d). Jepras et al. 1995 Applied and Environmental Microbiology 61:2696-2701.
Membrane Potential
Notes: Gramicidin S (ionophore pokes holes in the cell membrane and polarizes them)
Oxonol (negatively charged dye enters the depolarized cells and binds to the lipid rich intracellular components
Cells must be exponentially growing cells (must be live cells)

## Slide 54
Light scatter cytograms of E.coli cells before and after addition of ampicillin. Data obtained from Kuo-Ping Chu, Bio-Rad, USA.
No Antibiotic Antibiotic added
FS vs SS
FS vs SS
Light scatter changes??
Notes: Cell wall synthesis (peptidoglycan synthesis inhibited)

## Slide 55
Detection of Sphingomonas sp. using specific 16S rRNA
probes and ethidium bromide.
In soil:
In pure culture:
Thomas, et. al. 1997. Cytometry 27:224-232.
Notes: EthBr stain demonstrates the cell wall has been permeabilized therefore probe can penetrate the cell wall i.e. is fixation control (also identifies biologicals)
16srRNA probe FITC labeled probe (specific to Sphingomonas (soil bacteria degrades pyrene)
top - pure culture
bottom soil

## Slide 56: Cryptosporidium parvum
Genus Cryptosporidium are protozoam parasites that grow and reproduce in epithelial cells or the respiratory and digestive systems
C. parvum is the species most infection to mammals
First human cases of cryptosporidiosis reported in 1976 - then identified as life threatening in AIDS
In the genus coccidia the genus Cryptosporidium has the smallest oocysts
Sporulated oocysts each contain 4 sporozoites and a residuum of granules and membrane bound globule
Immature
Oocyst
Mature
Oocyst
(4 sporozoites each)
Excystation
(Sporozoite leaves oocyst)
5 mm
4.5 mm
Residuum composed of
numerous small granules
and a spherical or ovoid
membrane-bound globule
crypto.ppt - jpr 9/10/97
Phylum: Apicomplexa
Class: Sporozoasida
Subclass: Coccidiasina
Order: Eucoccodiorida
Suborder: Eimeriorina
Family: Cryptosporodiidae
5 mm
Infects
host cells

## Slide 57
Flow cytometric scatter plot of gamma irradiated C. parvum oocysts. The oocysts region is clearly distinguished from ghosts and debris. Images on the right show Sytox green fluorescence and transmission images of these regions. Note ghosts do not take up Sytox green dye.
Fluorescence Transmission
Crypto
10
0
10
1
10
2
10
3
10
4
10
0
10
1
10
2
10
3
10
4
Parameter 1 (1) vs Parameter 2 (2)
Forward Scatter
Side Scatter
Flow Cytometry Dot Plot
oocysts
debris
ghosts
Notes: Crypto isolated from cow (purchased)
gamma irradiated 900 Krads (kills alm ost all)
Stained with Sytox Green (membrane impermeant) i.e. gamma irradiation damages oocyst wall to all dye to penetrate and stain DNA
Ghosts - don’t stain because trophozoites have left and there is no DNA to stain
Dead cells stain because of the damaged membrane from the gamma irradiation
Live cells will not stain either

## Slide 58: Emerging Applications
Microbiology
  Drug industry – antibiotic resistance/sensitivity
  Molecular biology (identification)
  Food industry – testing samples
  Dairy industry – testing milk for cells/bugs
  Water industry - contamination
  Defense industry – nasty bugs
  96 well plate-based assays for flow using semi automated instruments

## Slide 59: Summary & Conclusions
Flow Cytometry is unique in its capabilities
Smaller particles are always more difficult to detect
New instruments are constantly under development
Determine if organisms are present in a sample
(environmental, food, water, clinical, etc.)
Identify specific pathogens using gene probes
    or immunofluorescence
Discriminate between viable and dead cells
Enumerate organisms in samples – but you need a dye, an antibody or other molecule to target the organism