## Slide 1
Flow Cell
Injector
Tip
Fluorescence
signals
Focused laser
beam
Sheath
fluid

## Slide 2
Forward Angle Light Scatter
FALS Sensor
Laser

## Slide 3
90 Degree Light Scatter
FALS Sensor
90LS Sensor
Laser

## Slide 4
Laser
Fluorescence Detectors
Fluorescence
FALS Sensor
Fluorescence detector
(PMT3, PMT4 etc.)

## Slide 5
488 nm laser
+
-
Fluorescence Activated
Cell Sorting
Charged Plates
Single cells sorted
into test tubes
FALS Sensor
Fluorescence detector

## Slide 6
Optical Filters
Dichroic Filter/Mirror at 45 deg
Reflected light
Transmitted Light
Light Source

## Slide 7
Standard Band Pass Filters
Transmitted Light
White Light Source
630 nm BandPass Filter
620 -640 nm Light

## Slide 8
Standard Long Pass Filters
Transmitted Light
Light Source
520 nm Long Pass Filter
>520 nm Light
Transmitted Light
Light Source
575 nm Short Pass Filter
<575 nm Light
Standard Short Pass Filters

## Slide 9
PMT
PMT
PMT
PMT
Dichroic
Filters
Bandpass
Filters
Flow Cytometry Optics
Laser
1
2
3
4
Flow cell

## Slide 10
Ethidium
PE
cis-Parinaric acid
Texas Red
PE-TR Conj.
PI
FITC
600 nm
300 nm
500 nm
700 nm
400 nm
457
350
514
610
632
488
Common
Laser
Lines

## Slide 11
Propidium Iodide
400 nm
500 nm
600 nm
700 nm
PI
DNA
Excitation
Emisson
300 nm 400 nm 500 nm 600 nm 700 nm

## Slide 12
Fluorescein (FITC)
400 nm
500 nm
600 nm
700 nm
Wavelength
Protein
Excitation
Emisson
300 nm 400 nm 500 nm 600 nm 700 nm

## Slide 13
Excitation
Emisson
300 nm 400 nm 500 nm 600 nm 700 nm
Phycoerytherin (PE)
Protein

## Slide 14
Allophycocyanin (APC)
Protein
632.5 nm (HeNe)
Excitation
Emisson
300 nm 400 nm 500 nm 600 nm 700 nm

## Slide 15
Typical Research Cytometer (Coulter 753) (1980s)
Lasers
Fluidics
Computers
Detectors
Laser Power Supply
$200-300,000

## Slide 16
Typical Clinical Cytometer
$90-120,000
Computer System
Detector &
Mechanical
Fluidics

## Slide 17
The Conventional Microscope
Focal length
of objective
= 45 mm
Object to
Image
Distance
= 195 mm
Mechanical
tube length
= 160 mm