GENP

PURPOSE :       GENP takes a two parameter correlated FCS histogram, and

generates a list of 'points' and 'weights' from it.  It

is designed to generate a list of scatterplot points to

be read by some other analysis, statistics, or graphics

program.

USAGE :         GENP <inputfile> [<outputfile>]

SYNOPSIS :      GENP is very simple.  It opens the FCS file, and looks at

the data field.  For each bin with a non-zero event count,

it writes the first parameter channel number, the second

parameter channel number, and the event count to the output

file in ASCII text, with each field separated by a

space character.  If <outputfile> is not specified, GENP

writes to the computer screen.